## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver4.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Director NCPOR
Name of Work: Auditorium Stage Lighting Work at NCPOR Goa
Contract No: NCPOR/Estate/ET-03/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  | Offered Make | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | GST % | GST Amount in INR Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes in Rs. P | Any Other Duties/Levies in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes Rs. P | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 8 | 9 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 10 | 52 | 11 | 12 | 13
1 | Auditorium Stage Lighting Work at NCPOR Goa | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Supply, Installation, Testing and Commissioning of 200W LED Profile Spot Light, with duel tune able Color Temperature of 3200K~5600K with latest RDM technology for user-friendly operation and as per the Technical specification mentioned below and any other item required to complete the work in totality as directed by the Engineer-Incharge: • Power supply of light fitting for operation: pf>0.95 @ 230V AC 50Hz, • CRI & TLCI Value:> 95, R9 Value > 95, • Minimum 3 Internal Fan operation Mode with fan speed control option. • Beam Angle: 19° • Control mode: RDM, DMX512, Manual, AutoRun, Master-slave, Sound. • Fully RDM Compliant in DMX Mode for the Lighting Console. • Lux output at 2 Mtr:> 15,000 Lux @ 19°. • Flickering Rate: more than 10000 FPS. • Dimming: 0 - 100% Electronic Dimming. • 4 Beam shaping shutters. • Accessory slot for Gobo and gobo holder, Iris & Color Frame. • Housing: Engineered plastic housing and metal construction with matt black finish. • Power and DMX: Loop in and loop out. • DMX in & Out Through: 5 Pin XLR connectors. • Certification: CE/ BIS | item1 | 3 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Supply, Installation, Testing and Commissioning of 200W LED Plano Convex (PC) Spot Light, with duel tune able color temperature of 3200K~5600K, along with 4 Leaf Barndoor, made of MS Sheet on each light fittings, with motorized zoom and latest RDM technology for user friendly operation as per the Technical specification mentioned below and any other item required to complete the work in totality as directed by the Engineer-Incharge: • Power supply of light fitting for operation: pf>0.95 @ 230V AC 50Hz. • CRI & TLCI Value > 95, R9 Value > 95. • Minimum 3 Internal Fan operation Mode with fan speed control option or else the fixture will be rejected. • Beam Angle: 20° to 50° Motorized Zoom. • Control mode: RDM, DMX512, Manual, Autorun, Master-slave, Sound. • Fully RDM Compliant in DMX Mode for the Lighting Console mentioned in this project. • Lux output at 2 Mtr:> 4,500 Lux @ 22° and > 1,000 Lux @ 50° • Flickering Rate: more than 10000 FPS, • Dimming: 0 - 100% Electronic Dimming, • Dual accessory slot for inserting accessories. • Housing: Engineered plastic housing and metal construction with matt black finish. • Power and DMX: Loop in and loop out. • DMX in & Out Through: 5 Pin XLR connectors. • Certification: CE/ BIS | item2 | 3 | Nos | 65 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Supply, Installation, Testing and Commissioning of 400W LED Blinder Light, with duel tune able Color Temperature 3200K~5600K, along with 4 Leaf Barndoor, made of MS Sheet on each light fittings, with latest RDM technology for user-friendly operation as per the Technical specification mentioned below and any other item required to complete the work in totality as directed by the Engineer-Incharge: • Power supply of light fitting for operation: pf>0.95 @ 230V AC 50Hz, • CRI & TLCI Value > 95, R9 Value > 95, • Minimum 3 Internal Fan operation Mode with fan speed control option. • Channels: 4/8 DMX-512 Channel Modes, • Beam Angle: 40°, • Control mode: RDM, DMX512, Manual, Autorun, Master-slave, Sound. • Fully RDM Compliant in DMX Mode for the Lighting Console mentioned in this project. • Lux output at 2 Mtr:> 8,000 Lux @ 40°, • Flickering Rate: more than 10000 FPS, • Dimming: 0 - 100% Electronic Dimming, • Housing:Aluminium Fabricated housing with matt black finish, • Power and DMX: Loop in and loop out. • DMX in & Out Through: 5 Pin XLR connectors, • Certification: CE/ BIS | item3 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.04 | Supply, Installation, Testing and Commissioning of LED 54x3W PAR Light with latest RDM technology for user friendly operation as per the Technical specification mentioned below and any other item required to complete the work in totality as directed by the Engineer-Incharge: • Base Color RGBW Color Mixing. • Minimum 3 Internal Fan operation Mode with fan speed control option. • Channels: 8 DMX-512, • Beam angle: 15°, • Control mode: RDM, DMX512, Manual, Autorun, Master-slave, Sound. • Fully RDM Compliant in DMX Mode for the Lighting Console mentioned in this project. • LUX @ 2m: >10,500 @ 15° Beam Angle, • Dimming: 0 - 100% Electronic Dimming, • Function: strobe, dimming, sound active and Master slave. • Housing: Die Casted Aluminium Housing with black epoxy polyster powder coated finish. • Accessory slot for Gel frame and Barndoor should be available or else fixture will be rejected. • Power and DMX: Loop in and loop out, • DMX in & Out Through: 5 Pin XLR connectors, • Certification: CE/ BIS | item4 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.05 | Supply, Installation, Testing and Commissioning of 300W LED moving headlight with integrated Beam, Spot, Wash feature, and comply to CMY + CTO Color wheel to achieve desired color with latest RDM technology for user-friendly operation as per the Technical specification mentioned below and any other item required to complete the work in totality as directed by the Engineer-Incharge: • Zoom Angle: min 30° Motorized Zoom • Pan angle 540° & Tilt angle 270° with speed adjustable. • Light Out put:>30,200 Lux at 2 Mtrs, • Color Wheel: 3 CMY + 1 CTO Color Wheel + Minimum 7 Colors and open or More, • Fixed Gobo Wheel: Minimum 10 Fixed Gobos or More • Rotating Gobo wheel: Minimum 6 Rotating Gobos or More • User Interface: 4 Nos High Precision Membrane type selector switch with LCD Display, • Fully RDM Compliant when in DMX mode, • DMX data IN / OUT: 5 pin locking XLR, • 3 mtr DMX loop cable with cable mount 5 pin locking XLR, • Certification: CE/ BIS | item5 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.06 | Supply, Installation, Testing and Commissioning of Digital Lighting console for dimmer control and LED color mixing of the above light fixtures. The console should have large LED touchscreen display of min 9.6 inch and should be utilizing a smart phone like interface for setup, programming and playback, also should have in-built WiFi enabling remote connection to control through app on smartphones and tablets, the same shall be installed and programmed for the NCPOR staff, programming should be part of the item and as per the technical specification mentioned below and any other item required to complete the work in totality as directed by the Engineer-Incharge: • It should support 512 DMX channel and above lighting fixtures. • Builtin Ethernet port to work with ARTNET/SACN/Path port protocols and with built-in Wifi facility. • 20 multifunction fixture faders. • The display shall be of min 9.6" touch screen type on board, • It should have playback faders of 1cue-stack & 2 chases. • It should have Offline software and Wifi Based App control. •It should have min 02 nos USB ports to program and to store lighting program on the console. •It shall consist min 28000 library fixtures files. •It shall capable of connecting external monitor via HDMI port. | item6 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.07 | Providing and fixing of Light Bar of min 13 Mtrs length, made of SS 316, of min 3mm thickness, 40 Nominal Bore Pipe, along with curtain bar attachable to light bar with required L-angle with required fittings and accessories, of min 14 Mtrs length, made of SS 316, with 40 mm Nominal Bore dia Pipe dual barrel construction arrangement undergone through various chemical treatment to keep them rust free and duly epoxy polyester powder coated in black matt texture finish. Also, Providing and fixing of 100% cotton curtain of size(L14000mm X W800mm) on the fabric bar, the curtain fabric shall be fire retardant, curtain shall be with 100% stiched pleat throughout the length without spacing. The fabric should be of min 300GSM and should be available in various colour option for selection, the colour shade and fabric should match the existing curtains installed in the auditorium stage and shall be finalised in coordination with Engineer In-charge. • Light bar shall include and fitted with min 40x75x40 Cable trunking arrangement with cover for better aesthetic look and cable safety. • Dual barrel pipe construction welded with SS 316 support strip at every 1 Mtr for better strength and the bar shall have clamps for fixing through suspenders above the existing false ceiling and gas welded or clamped to the existing auditorium MS structure(available above the false ceiling area). • The required suspenders for suspending the light bar from the existing MS structure shall also be considered while quoting, suitable suspenders to fix the light bar shall be fixed at a interval of every 2-3 mtr. throughout the entire bar length stretch. Note: Welding to be done using gas welding only to the existing MS structure and all the welded parts to be re painted immediately after welding. Sufficient care should be taken while executing the work at site and area to be covered with metal plate during welding, so that the existing setup is not damaged at any cost. | item7 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.08 | Supply, Installation, Testing and Commissioning of 1500W Haze machine, with warm up time of max 1 minute, it should be powered and controlled through DMX 512 and wireless remote control, the smoke output should be of min 50000 cu ft/min at 8mtr, it should have min 2.5 L of storage tank capacity for storing fluid and should be duly filled up with fluid at a time of hand over(Also, Extra 10 Ltrs of fluid to be provided as spare at the time of hand over) and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item8 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.09 | Supply, Installation, Testing and Commissioning of rack or grid mount, photo isolated DMX/RDM Compatible splitter amplifier unit with one DMX input and eight DMX output dedicated to DMX 512 digital lighting control, signal amplification and magnify the DMX signal that makes the DMX data transmission more accurate and reliable. It shall be fully compatible with the latest RDM protocol and for all the above BOQ light fittings and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item9 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.1 | Providing and fixing of MS fabricated, 4 way, 10A, 250V A.C, power lighting junction box made up of 22 SWG CRCA sheet, for powering LED lighting fixtures with Pipe clamp arrangement for fixing on pipe grid and raul plug arrangement for wall/floor fixing, duly black epoxy polyester powder coated texture finish including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item10 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.11 | Providing and fixing of MS fabricated, 2 way, 10A, 250V A.C, power junction box made up of 22SWG CRCA sheet with rocker switch to power up splitter and console, with Pipe clamp arrangement for fixing on pipe grid and raul plug arrangement for wall/floor fixing, duly black epoxy polyester powder coated texture finish including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item11 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.12 | Providing and fixing of MS Fabricated 5 pin DMX Signal IN Junction box, fitted with 5 pin DMX Male socket, junction box should be made up of 22SWG CRCA sheet, with Pipe clamp arrangement for fixing on pipe grid and Raul plug arrangement for wall/floor fixing, black epoxy polyester powder coated texture finish including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge | item12 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.13 | Providing and fixing of MS Fabricated 5 pin DMX Signal OUT Junction box fitted with 5 pin DMX female socket, junction box made up of 22SWG CRCA, with Pipe clamp on pipe grid arrangement for fixing or raul plug arrangement for wall/floor fixing, with duly black epoxy polyester powder coated texture finish including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item13 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.14 | Providing and fixing of MS Fabricated 5 pin DMX Signal Loop Junction box fitted with 5 pin DMX male/female socket, junction box made up of 22SWG CRCA sheet, with Pipe clamp on pipe grid arrangement for fixing or Raul plug arrangement for wall/floor fixing, with duly black epoxy polyester powder coated texture finish including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item14 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.15 | Providing and fixing of wall mounted 6 or 8 Way Distribution Board(DB) made up of 22SWG CRCA sheet for powering and termination of main &auxilary power cables and for distribution of power circuits. The item should include 1 no. of 32A MCB, c curve type at incomer and 5 nos. of 16A MCB, C curve type for outgoing, including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item15 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.16 | Providing and fixing of Die cast AluminiumC-clamp along with locking arrangement and safety chain of Galvanized MS, duly epoxy polyester powder coated in black matt texture finish, the min safe working load of 150kg of each C clamp including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item16 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.17 | Providing and fixing of Safety bond with lock clip arrangement of a length of 1.5 Mtr Long made with twisted pair of GI wire rope of 2mm or 3mm thickness alongwith sleeve.The safety bond shall be fixed around the light fixtures to avoid fall of the material in case if the "C" clamp is not locked properly. SWL of each safety bond lock with clip should be of 150Kgs including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item17 | 17 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.18 | Providing and fixing of 70-80mm Round Identification name plate duly epoxy polyester powder coated in matt texture finish to be fixed on all the light fittings for numenclature of each light fittings including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item18 | 17 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.19 | Providing and fixing of Light Fixing Suspenders made up of M12 stud, fish plate of 150X150X6mm, L-angle of 40X40X5mm, for suspending the light fixture on the stage through the ceiling(existing MS structure) including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item19 | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.2 | Providing and fixing of Auxiliary marshalling box for power and signal cable termination in grid level and in the Light bar including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item20 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.21 | Providing and fixing of 5 pin XLR male/female connectors for connection at light console and/or light fixtures including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item21 | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.22 | Providing and fixing of 5 Pin XLR Termination plug for connection at light console and/or light fixtures including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item22 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.23 | Supply, Installation, Testing and Commissioning of 3 core 1.5 sq.mm, PVC insulated, copper, unarmoured, flexible, FRLS, multicore cable, of working voltage grade of 1100V for all electrical power including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item23 | 260 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.24 | Supply, Installation, Testing and Commissioning of 5 Core DMX Cable with Sheathed housing on the cable, well designed insulation, low noise suitable to transmit DMX signal including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item24 | 185 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.25 | Providing and fixing of MS perforated tray of Size 75 X 40 X 1.6 mm(WxHxT), to house all the cables including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item25 | 50 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE!
1.26 | Supply and installation of copper bare conductor of size 14 SWG for power and earthing-related work, the earthing conductor shall be connected to each light fitting body and grounded through the earth for safety of human beings in case of any earth leakage for the light fitting including all installation accessories required and any other item required to complete the work in totality as directed by the Engineer-Incharge. | item26 | 40 | Mtrs | 75 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information